| Site Name: |  | Site No.: |  |
| --- | --- | --- | --- |

| Permit No. | This permit must be completed for all cutting, welding and other defined hot work performed in an ‘at risk’ environment on a BAI owned site. If the site is not owned by BAI, please contact the site owner regarding their Hot Works Permit process. This Permit is to be kept on site and signed off at the completion of works. The permit is to be activated by contacting the SMC so that they can ignore, isolate or cancel any alarms and then deactivated with the SMC at the end of works. |
| --- | --- |
| Application For Hot Work |
| Applicant: |
| Company Name: |
| Tel: ( ) | Fax: ( ) |
| Location of Work: |
| Description of Work: |
| Equipment to be used: |
| Permit Begins | Permit Expires |
| Date: | Time: am/pm | Date: | Time: am/pm |
| Comments | Comments |
| Emergency Information |
| If a fire occurs, call 000 |  |
| Nearest fire alarm point: |
| Authorisation by BAI Communications Representative (Authorised Person) |
| The above work is authorised to proceed subject to the following action being taken prior to work starting and procedures are to be maintained for the duration of the work. Each item is to be checked by the *Responsible Person prior to work starting for each period (delete and initial if and where Not Applicable) |
| Permit Issued By: |
| Company / Area: |

Permit to be signed by BAI representative and emailed back to the applicant for their records.

Details of the applicant email is available from the Site Access Request if this form was submitted that way

| 1 | Fire Sprinkler and/or Thermal Detectors must be confirmed as operational (Where installed – consult with maintenance records) | ( | 6 | The hot work area & any adjoining areas must be patrolled from the start of work until 60 minutes after the work is completed (including break periods) | ( |
| --- | --- | --- | --- | --- | --- |
| 2 | Smoke / Heat Detectors must be isolated in the work area. | ( | 7 | Barricades, warning signs & spark/flash screens must be provided. | ( |
| 3 | Fire equipment to be provided as follows: Fire Hose Reel or Fire Extinguisher Mandatory fire watcher present | ( | 8 | Work area, trenches, pits, etc. must be clear of flammable liquids, gases or vapours. | ( |
| 4 | Combustible materials located within 10m must be removed or protected with non-combustible curtains, metal guards or flame proof covers. If 10m clearance is not practical, then the largest distance possible (min 3m) is acceptable. | ( | 9 | Special conditions. (Please detail): | ( |
| 5 | All floor & wall openings within 10m must be covered to prevent transmission of sparks. | ( |  |  |  |

| Work Completed & Area Safe The work area has been inspected by the *Responsible Person 60 mins after the completion of work |
| --- |
| Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |
| Signed | Signed | Signed | Signed | Signed | Signed | Signed |
| Date | Date | Date | Date | Date | Date | Date |

Authorised Person definition. A person in charge of the day-to-day operation of a BAI asset, or their nominee. The “Authorised Person” can be a principal contractor commissioned by BAI.

*Responsible Person Definition. An appropriately trained and/or experienced person for the on-site aspects of the work to be undertaken. The Responsible Person identifies and controls hazards/risks arising from the work itself.